**Attachment no. 1**

OFFER FORM

In response to Request for proposal **NO. 2/RPO-WO/SBB 9001/2016** of 08.11.2016
we submit following offer:

|  |
| --- |
| **Bidder** |
| Name |  |
| Address |  |
| **Contact person** |
| Name and Surname |  |
| E-mail address |  |
| Telephone |  |
| **Offer parameters** |
| Offer preparation date |  |
| Offer expiry date |  |
| **Description of the Offer (reference to parameters indicated in request for proposal)** |
| **The purchase English or Polish language version of Thermoflex license or equivalent for 10 workstations at Buyer’s office with the guaranteed technical support for the period of minimum one year after purchase with minimal technical parameters which enable to:** | **If the parameter is met please write YES, if parameter is not met please write a committed value/function** |
| * conduct thermal and efficiency calculations of boilers and power cycles,
 |  |
| * make calculations for full and partial loads of a boiler,
 |  |
| * make calculations on boilers with natural and forced circulation,
 |  |
| * make calculations within combustion chamber through introducing fixed exhaust gas temperature at the outlet,
 |  |
| * make calculations with various types of fuel combusting in one model simultaneously,
 |  |
| * calculate fuel combustion and post-combustion,
 |  |
| * make calculation of steam air heaters,
 |  |
| * calculate thermal conductivity of pipes based on its material and work temperature,
 |  |
| * include in calculation heat radiation emitted by flue gas and ash/dust in boiler,
 |  |
| * include in calculation impurities of boiler heating surface,
 |  |
| * make calculations of tube bank vibration for subcritical and supercritical boilers in steady state,
 |  |
| * make calculations within rotary air heaters including air leakage to exhaust gas,
 |  |
| * calculate parameters of evaporated water in economizer,
 |  |
| * define air and flue gas flow in m3n/h,
 |  |
| * indicate possible anomalies in flue gas flow,
 |  |
| * evaluate desulphurization level in fluidized bed boilers,
 |  |
| * assess level of low temperature corrosion,
 |  |
| * make calculations within plants with power range between 100 kW up to 1500 MW,
 |  |
| * use built-in component library which enable to create any power unit model (including different kind of boilers; e.g. natural and forced circulation, stoker-fired, biomass, fluidized bed boilers and heat recovery steam generator) as well as enable to use a gas turbine database based on manufacturer data,
 |  |
| * implement scripts to calculate additional component such as pulverize balance,
 |  |
| * export/import data from/to worksheet,
 |  |
| * work in design and off-design mode,
 |  |
| * installation of program on 10 workstations at Buyer’s office.
 |  |
| **Reference to evaluation criteria** |
| Overall price (net) |  |
| License validity (in months) |  |
| Period of guarantee (in months) |  |
| Period of free software update (in months) |  |

**Bidder Statement:**

I declare that:

1. I read the Request for a Proposal and I confirm that Offer includes all documents specified in the Request for a Proposal,
2. I am aware and accept all conditions of an Order specified in Request for Proposal and I do not have any objections in this area.
3. I declare and confirm technical support for the period of minimum one year after programme purchase.

|  |  |
| --- | --- |
| Name and Surname of person authorized to submit the Offer |  |
| Position |  |
| Date and sign |  |

**Attachment no. 2 Statement on the lack of personal and financial connection**

Bidder submitting Offer:

…………………………………………………

 Bidder stamp

Statement on the lack of personal and financial connection

In response to the Request for Proposal **NO. 2/RPO-WO/SBB 9001/2016** of 08.11.2017 relevant to the **purchase English or Polish language version of Thermoflex software license or its equivalent** we declare that we are not financially or personally bound with the Buyer.

Financial or personal connections are to be understood as mutual ties between the Buyer or authorized by him person who can make commitments in his behalf or who execute activities connected with the preparation of offers and selection procedure, in particular by:

1. Participating in the company as a partnership member or civil law partnership member,
2. Having at least 10% of shares or stock,
3. Being a proxy or a member of the supervisory or management board,
4. Being married, being in [direct or secondary relation up to second degree,](http://www.proz.com/kudoz/polish_to_english/law_general/684202-powinowactwa_w_linii_prostej_lub_bocznej_do_drugiego_stopnia.html) or being in the custody or guardianship.

……………………………………………………

Signature of the person authorized to represent the Bidder